## Sheet1
Trade | Tag | Description
Electrical | ATS-1 | Automatic Transfer Switch
Electrical | ATS-2 | Automatic Transfer Switch
Electrical | ATS-3 | Automatic Transfer Switch
Electrical | BATT-1 | VRLA / Lithium Battery Rack
Electrical | BATT-2 | VRLA / Lithium Battery Rack
Electrical | DP-1 | Distribution Panelboard
Electrical | DP-2 | Distribution Panelboard
Electrical | LCP-1 | Lighting Control Relay Panel
Electrical | M2C1 | Power Branch Panelboard
Electrical | M4C1 | Power Branch Panelboard
Electrical | MSB | Main Distribution Switchboard
Electrical | R2C2 | Radome / Exterior Power Panel
Electrical | SL4A1 | Essential Lighting Panelboard
Electrical | SM2A1 | Essential Branch Panelboard
Electrical | SM2B1 | Essential Branch Panelboard
Electrical | SPD-1 | Surge Protective Devices
Electrical | SPD-2 | Surge Protective Devices
Electrical | SPD-3 | Surge Protective Devices
Electrical | SPD-4 | Surge Protective Devices
Electrical | SPD-5 | Surge Protective Devices
Electrical | SPD-6 | Surge Protective Devices
Electrical | Type A | Recessed 2x4 LED Troffers
Electrical | Type B | Linear Pendant LED Luminaires
Electrical | Type C | Recessed LED Downlights
Electrical | Type D | Vapor-Tight Industrial LED
Electrical | Type E | Radome LED High Bay Luminaires
Electrical | Type EM | Emergency Battery Lighting Units
Electrical | UPS-1 | Uninterruptible Power Supply
Electrical | UPS-2 | Uninterruptible Power Supply
Electrical | XFMR-1 | Dry-Type Stepdown Transformer
Electrical | XFMR-2 | Dry-Type Stepdown Transformer
Electrical | XFMR-3 | Dry-Type Stepdown Transformer
Fire Protection | FACP | Fire Alarm Control Panel
Fire Protection | FP-CYL-1 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-2 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-3 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-4 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-5 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-6 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-7 | Clean Agent Suppression Cylinders
Fire Protection | FP-CYL-8 | Clean Agent Suppression Cylinders
Fire Protection | FSD-1 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-10 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-11 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-12 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-2 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-3 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-4 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-5 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-6 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-7 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-8 | Fire Smoke Dampers & Actuators
Fire Protection | FSD-9 | Fire Smoke Dampers & Actuators
Fire Protection | PRV-1 | Pre-Action Sprinkler Valve Station
Fire Protection | RA-1 | Remote Fire Annunciator Panel
Fuel | AST-1 | Diesel Fuel Storage Tank
Fuel | FC-1 | Generator Fuel Cooler
Fuel | FC-2 | Generator Fuel Cooler
Fuel | FMP-1 | Fuel Monitoring & Leak Detection
Fuel | FOP-1 | Fuel Transfer Pump
Fuel | FOP-2 | Fuel Transfer Pump
Fuel | FOP-3 | Fuel Transfer Pump
Fuel | FOP-4 | Fuel Transfer Pump
Fuel | FOP-5 | Fuel Transfer Pump
Fuel | FP-1 | Main Fuel Polishing System
Fuel | FP-2 | Main Fuel Polishing System
Generators | DT-1 | FUEL OIL DAY TANK
Generators | DT-2 | FUEL OIL DAY TANK
Generators | EWT-1 | ENDURANCE DOMESTIC WATER TANK
Generators | EWT-2 | ENDURANCE DOMESTIC WATER TANK
Generators | FOT-1 | UNDERGROUND FUEL OIL TANK
Generators | FOT-2 | UNDERGROUND FUEL OIL TANK
Generators | FOT-3 | UNDERGROUND FUEL OIL TANK
Generators | FOT-4 | UNDERGROUND FUEL OIL TANK
Generators | FOT-5 | UNDERGROUND FUEL OIL TANK
Generators | FOT-6 | UNDERGROUND FUEL OIL TANK
Generators | FOT-7 | UNDERGROUND FUEL OIL TANK
Generators | FOT-8 | UNDERGROUND FUEL OIL TANK
Generators | FOT-9 | UNDERGROUND FUEL OIL TANK
Generators | GEN-1 | Standby Diesel Generator Set
Generators | GEN-2 | Standby Diesel Generator Set
Mechanical | ACU-1 | Ductless Split Indoor Unit
Mechanical | ACU-2 | Ductless Split Indoor Unit
Mechanical | ACU-3 | Ductless Split Indoor Unit
Mechanical | AHU-1 | Air Handling Unit (Dual Motor)
Mechanical | AHU-2 | Air Handling Unit
Mechanical | AHU-3 | Air Handling Unit
Mechanical | AHU-4 | Air Handling Unit
Mechanical | AS-1 | AIR SEPARATOR
Mechanical | AS-2 | AIR SEPARATOR
Mechanical | AS-3 | AIR SEPARATOR
Mechanical | AS-4 | AIR SEPARATOR
Mechanical | B-1 | Condensing Hydronic Boiler
Mechanical | B-2 | Condensing Hydronic Boiler
Mechanical | B-3 | Condensing Hydronic Boiler
Mechanical | B-4 | Condensing Hydronic Boiler
Mechanical | BC-1 | Blower Coil Unit
Mechanical | BC-2 | Blower Coil Unit
Mechanical | BC-3 | Blower Coil Unit
Mechanical | CH-1 | R410A Air-Cooled Water Chiller
Mechanical | CH-2 | R410A Air-Cooled Water Chiller
Mechanical | CHWP-1 | Chilled Water Distribution Pump
Mechanical | CHWP-2 | Chilled Water Distribution Pump
Mechanical | CRAH-1 | Computer Room Air Handling Unit
Mechanical | CRAH-2 | Computer Room Air Handling Unit
Mechanical | CRAH-3 | Computer Room Air Handling Unit
Mechanical | CRAH-4 | Computer Room Air Handling Unit
Mechanical | CRAH-5 | Computer Room Air Handling Unit
Mechanical | CRAH-6 | Computer Room Air Handling Unit
Mechanical | CU-1 | Air Cooled Condensing Unit
Mechanical | CU-2 | Air Cooled Condensing Unit
Mechanical | CUH-1 | Cabinet Unit Heater
Mechanical | CUH-2 | Cabinet Unit Heater
Mechanical | DH-1 | Dehumidifier Unit
Mechanical | DH-2 | Dehumidifier Unit
Mechanical | DOAS-1 | Dedicated Outdoor Air System
Mechanical | E-1 | Exhaust Air Device
Mechanical | ET-1 | Expansion Tank
Mechanical | ET-2 | Expansion Tank
Mechanical | ET-3 | Expansion Tank
Mechanical | F-1 | Exhaust Fan
Mechanical | F-10 | Generator Combustion Supply Fan
Mechanical | F-11 | Generator Room Exhaust Fan
Mechanical | F-12 | Generator Room Exhaust Fan
Mechanical | F-13 | Relief Fan
Mechanical | F-14 | Relief Fan
Mechanical | F-15 | Janitor Exhaust Fan
Mechanical | F-16 | General Exhaust Fan
Mechanical | F-2 | Exhaust Fan
Mechanical | F-3 | Mechanical Room Supply Fan
Mechanical | F-4 | Mechanical Room Supply Fan
Mechanical | F-5 | Chiller Emergency Exhaust Fan
Mechanical | F-6 | Chiller Emergency Exhaust Fan
Mechanical | F-7 | Chiller Emergency Exhaust Fan
Mechanical | F-8 | Chiller Emergency Exhaust Fan
Mechanical | F-9 | Generator Combustion Supply Fan
Mechanical | FTU-1 | Fan Powered Terminal Unit
Mechanical | FTU-2 | Fan Powered Terminal Unit
Mechanical | GMP-1 | Glycol Make-Up Package
Mechanical | GMP-2 | Glycol Make-Up Package
Mechanical | GMP-3 | Glycol Make-Up Package
Mechanical | HWC-1 | Heating Water Coil
Mechanical | HWP-1 | Heating Hot Water Circ Pump
Mechanical | HWP-2 | Heating Hot Water Circ Pump
Mechanical | HWP-3 | Heating Hot Water Circ Pump
Mechanical | HWP-4 | Heating Hot Water Circ Pump
Mechanical | PH-1 | Penthouse
Mechanical | PH-2 | Penthouse
Mechanical | PH-3 | Penthouse
Mechanical | PH-4 | Penthouse
Mechanical | R1 | Return Air Device
Mechanical | S1 | SUPPLY AIR DEVICE
Mechanical | S2 | SUPPLY AIR DEVICE
Mechanical | S3 | SUPPLY AIR DEVICE
Mechanical | S4 | SUPPLY AIR DEVICE
Mechanical | S5 | SUPPLY AIR DEVICE
Mechanical | S6 | SUPPLY AIR DEVICE
Mechanical | UH-1 | Unit Heater
Mechanical | UH-2 | Unit Heater
Mechanical | VAV-1
Mechanical | VAV-10
Mechanical | VAV-11
Mechanical | VAV-12
Mechanical | VAV-13
Mechanical | VAV-14
Mechanical | VAV-15
Mechanical | VAV-16
Mechanical | VAV-17
Mechanical | VAV-2
Mechanical | VAV-3
Mechanical | VAV-4
Mechanical | VAV-5
Mechanical | VAV-6
Mechanical | VAV-7
Mechanical | VAV-8
Mechanical | VAV-9
Plumbing | AC-1 | Reciprocating Air Compressor
Plumbing | AC-2 | Reciprocating Air Compressor
Plumbing | BFP-1 | Backflow Preventer Assembly
Plumbing | EFW-1 | Emergency Eyewash Station
Plumbing | EWC-1 | Electric Water Cooler & Bottle Filler
Plumbing | EWP-1 | Pneumatic Double Diaphragm Pump
Plumbing | EWP-2 | Pneumatic Double Diaphragm Pump
Plumbing | FCO | Floor Cleanout
Plumbing | FD-1 | Cast Iron Floor Drain
Plumbing | FD-2 | Cast Iron Floor Drain
Plumbing | FD-3 | Cast Iron Floor Drain w/ Trap Guard
Plumbing | FS-1 | Cast Iron Floor Sink
Plumbing | HB-1 | Interior Hose Bibb
Plumbing | HD-1 | Stainless Steel Hub Drain
Plumbing | IWH-1 | Electric Instantaneous Water Heater
Plumbing | IWH-10 | Electric Instantaneous Water Heater
Plumbing | IWH-11 | Electric Instantaneous Water Heater
Plumbing | IWH-2 | Electric Instantaneous Water Heater
Plumbing | IWH-3 | Electric Instantaneous Water Heater
Plumbing | IWH-4 | Electric Instantaneous Water Heater
Plumbing | IWH-5 | Electric Instantaneous Water Heater
Plumbing | IWH-6 | Electric Instantaneous Water Heater
Plumbing | IWH-7 | Electric Instantaneous Water Heater
Plumbing | IWH-8 | Electric Instantaneous Water Heater
Plumbing | IWH-9 | Electric Instantaneous Water Heater
Plumbing | L-1 | Countertop Lavatory
Plumbing | L-2 | Wall-Hung Lavatory
Plumbing | MB-1 | Mop Service Basin
Plumbing | NFWH-1 | Non-Freeze Wall Hydrant
Plumbing | OB-1 | Outlet Box
Plumbing | OB-2 | Outlet Box
Plumbing | ORD-1 | Overflow Roof Drain
Plumbing | RD-1 | Main Roof Drain
Plumbing | SH-1 | Accessible Shower Stall
Plumbing | SI-1 | Solids / Sediment Interceptor
Plumbing | SK-1 | Double Bowl Countertop Sink
Plumbing | SK-2 | Single Bowl Countertop Sink
Plumbing | SP-1 | Submersible Sump Pump
Plumbing | TP-1 | Electronic Trap Primer System
Plumbing | TP-2 | Electronic Trap Primer System
Plumbing | WC-1 | Wall-Hung Water Closet
Plumbing | WT-1 | Water Treatment System
Plumbing | YCO | Yard Cleanout