1) Essential/significant physical, functional, or performance characteristics.
Air-Free Warming System:
1. Patient warming must be air-free
1. Must be able to warm patient from above and below at the same time
1. The warming mattress must have returned grounding electrode combine into a two in one device
1. Fabric technology must emits no waste of heat to ensure a sterile and safe environment

