ATTACHMENT C

FOREST SERVICE SUPPLEMENTAL SPECIFICATIONS (FSSS)

Contents

Section 101. – TERMS, FORMAT, AND DEFINITIONS	3

Section 101. – TERMS, FORMAT, AND DEFINITIONS	3

Section 101. – TERMS, FORMAT, AND DEFINITIONS	4

Section 102. - BID, AWARD, AND EXECUTION OF CONTRACT	7

Section 103. – SCOPE OF WORK	7

Section 104. – CONTROL OF WORK	7

Section 104. – CONTROL OF WORK	7

Section 105. – CONTROL OF MATERIAL	7

Section 106. – ACCEPTANCE OF WORK	8

Section 108. - PROSECUTION AND PROGRESS	8

Section 109. - MEASUREMENT AND PAYMENT	8

Section 109. - MEASUREMENT AND PAYMENT	8

Section 109. - MEASUREMENT AND PAYMENT	9

Section 155. – SCHEDULES FOR CONSTRUCTION CONTRACTS	10

Section 201. - CLEARING AND GRUBBING	10

Section 201. - CLEARING AND GRUBBING	11

Section 201. - CLEARING AND GRUBBING	11

Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS	11

Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS	11

Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS	11

Section 204. – EXCAVATION AND EMBANKMENT	12

Section 204. – EXCAVATION AND EMBANKMENT	13

Section 209. - STRUCTURE EXCAVATION AND BACKFILL	14

Section 209. - STRUCTURE EXCAVATION AND BACKFILL	15

Section 251. – RIPRAP	15

Section 301. - UNTREATED AGGREGATE COURSES	15

Section 301. - UNTREATED AGGREGATE COURSES	15

Section 301. - UNTREATED AGGREGATE COURSES	16

Section 303. - ROAD RECONDITIONING	17

Section 633. - PERMANENT TRAFFIC CONTROL	17

Section 703. - AGGREGATE	17

Section 705. - ROCK	17

PREFACE

Delete all but the first paragraph and add the following:

The Forest Service, US Department of Agriculture has adopted FP-24 for construction of National Forest System Roads.  The Forest Service Supplemental Specifications (FSSS) shall be incorporated in the FP-24. The applicable specifications for the project will be the FP-24 as modified by the FSSS.

# Section 101. – TERMS, FORMAT, AND DEFINITIONS

Add the following paragraph to Subsection 101.01 Meaning of Terms:

Delete all references to the TAR (Transportation Acquisition Regulations) in the specifications.

# Section 101. – TERMS, FORMAT, AND DEFINITIONS

Add the following to Subsection 101.03 Abbreviations:

(a) Acronyms.

AGAR — Agriculture Acquisition Regulations

AFPA — American Forest and Paper Association

FSSS – Forest Service Supplemental Specifications

MSHA — Mine Safety and Health Administration

NESC — National Electrical Safety Code

WCLIB — West Coast Lumber Inspection Bureau

(d) Miscellaneous unit abbreviations.

MP - milepost					location

ppm - parts per million			volume

STA – station					location

MFBM - thousand feet board measure	volume

# Section 101. – TERMS, FORMAT, AND DEFINITIONS

Make the following changes to Subsection 101.04 Definitions:

Delete these definitions and replace with the following:

Bid Schedule — The Schedule of Items.

Bridge — A structure, including supports, erected over a depression or an obstruction such as water along a road, a trail, or a railway and having a deck for carrying traffic or other loads.

Contractor — The individual or legal entity contracting with the Government for performance of prescribed work.  In a timber sale contract, the contractor is the “Purchaser”.

Culvert — Any structure with a bottom, regardless of fill depth, depth of invert burial, or presence of horizontal driving surface, or any bottomless (natural channel) structure with footings that will not have wheel loads in direct contact with the top of the structure.

Drawings —Design sheets or fabrication, erection, or construction details submitted to the CO by the Contractor.

Neat Line — A line defining the proposed or specified limits of an excavation or structure.

Notice to Proceed — (Public Works Contracts) Written notice to the Contractor to begin the contract work. (Timber Contracts) does not apply, replace NTP with Contract Award.

Right-of-Way — A general term denoting (1) the privilege to pass over land in some particular line (including easement, lease, permit, or license to occupy, use, or traverse public or private lands), or (2) Real property necessary for the project, including roadway, buffer areas, access, and drainage areas.

Add the following definitions:

Adjustment in Contract Price — “Equitable adjustment,” as used in the Federal Acquisition Regulations, or “construction cost adjustment,” as used in the Timber Sale Contract, as applicable.

Change — “Change” means “change order” as used in the Federal Acquisition Regulations, or “design change” as used in the Timber Sale Contract.

Forest Service — The United States of America, acting through the Forest Service, U.S. Department of Agriculture.

Forest Service Supplemental Specifications – The Forest Service uses supplemental specifications to modify the FP-24 to meet the agency needs and intents.  FSSS revise the FP-24 by adding, deleting, replacing, revising, replacing part of entire sections or subsections or adding new sections to the FP..

Pioneer Road — Temporary construction access built along the route of the project.

Purchaser — The individual, partnership, joint venture, or corporation contracting with the Government under the terms of a Timber Sale Contract and acting independently or through agents, employees, or subcontractors.

Protected Streamcourse — A drainage shown on the plans or timber sale area map that requires designated mitigation measures.

Road Order — An order affecting and controlling traffic on roads under Forest Service jurisdiction. Road Orders are issued by a designated Forest Officer under the authorities of 36 CFR, part 260.

Utilization Standards — The minimum size and percent soundness of trees described in Public Works contract specifications or Timber Sale and stewardship contract provisions to determine merchantable timber.

Add Figure 101-1—Illustration of road structure terms:

Figure 101-1—Illustration of road structure terms

# Section 102. - BID, AWARD, AND EXECUTION OF CONTRACT

Delete Section 102 Bid, Award, and Execution of Contract in its entirety.

# Section 103. – SCOPE OF WORK

Delete all of Section 103 Scope of Work except Subsection 103.01 Intent of Contract.

# Section 104. – CONTROL OF WORK

Delete Subsection 104.07 Coordination of Contract Documents.

# Section 104. – CONTROL OF WORK

Add the following Subsection 104.12 Use of Roads by Contractor:

The Contractor is authorized to use roads under the jurisdiction of the Forest Service for all activities necessary to complete this contract, subject to the limitations and authorizations designated in the Road Order(s) or described in the contract, when such use will not damage the roads or national forest resources, and when traffic can be accommodated safely.

# Section 105. – CONTROL OF MATERIAL

Delete second paragraph and subparagraphs (a) and (b) in Subsection 105.05 Use of Material Found in the Work and replace it with the following:

The right to use and process material found in the work excludes the use and processing of material for nongovernment contract work, except for the disposal of waste material.  Materials produced or processed from Government lands in excess of the quantities required for performance of this contract are the property of the Government.  Place excess material at government-approved agreed to location(s), at no additional cost to government.

# Section 106. – ACCEPTANCE OF WORK

Delete the 3rd and 4th paragraphs in Subsection 106.01 Conformity with Contract Requirements.

# Section 108. - PROSECUTION AND PROGRESS

Delete Section 108 Prosecution and Progress in its entirety.

# Section 109. - MEASUREMENT AND PAYMENT

Delete Subsections 109.06 Pricing and Adjustments, 109.07 Estimated Work, 109.08 Progress Payments, and 109.09 Final Payment.

# Section 109. - MEASUREMENT AND PAYMENT

Delete Table 109-1 of Subsection 109.01 Measurement of Work and replace with the following:

Table 109-1

Decimal Accuracy of Quantities for Payment

| Pay Item | Level of Precision |
| --- | --- |
| Acre | 0.01 |
| Cubic Foot | 1 |
| Cubic Yard | 1 |
| Cubic Yard Exception - Structure Excavation; Sheathing; Materials; Bedding, Bed Course, and Backfill, Materials; Gabions; | 0.1 |
| Cubic Yard Exception – Concrete; Masonry | 0.01 |
| Day | 1 |
| Each | 1 |
| Gallon | 1 |
| Hour | 0.1 |
| Linear Foot | 1 |
| Linear Foot Exception - Timber, Steel, and Concrete Piles | 0.1 |
| M-Gallon | 0.1 |
| Mile | 0.01 |
| Month | 0.1 |
| Pound | 1 |
| Square Foot | 0.1 |
| Square Yard | 0.1 |
| Station | 0.1 |
| Thousand Board Feet Measure | 0.01 |
| Ton | 0.1 |
| Ton Exception - Calcium Chloride; Sodium Chloride; Hydrated Lime; Bituminous Materials; Pavements; Bed Course Materials | 0.01 |
| Week | 0.1 |

# Section 109. - MEASUREMENT AND PAYMENT

Delete Subsection 109.02(c) Measurement Terms and Definitions, Contract quantity and replace with:

(c) Contract quantity. The quantity to be paid is the quantity listed in the bid schedule. The contract quantity will be adjusted for authorized changes that affect the quantity or for errors made in computing this quantity when that error exceeds 15% or more. If there is evidence that a quantity specific as a contract quantity is incorrect by 15% or more, submit calculations, drawings, or other evidence indicating why the quantity is in error and request in writing that the quantity be adjusted.

# Section 155. – SCHEDULES FOR CONSTRUCTION CONTRACTS

Delete Section 155 Schedules for Construction Contracts in its entirety and replace with the following:

155.01 General. Provide a construction schedule showing all major activities start and end dates for completion the period of performance for the contract.

# Section 156. – PUBLIC TRAFFIC

Add the following to the end of Subsection 156.06 Limitations on Construction Operations as a separate paragraph:

Road segments may be closed as shown in Table 156-1.  The maximum consecutive days of closure shall be followed by a minimum number of consecutive days open to traffic as shown.  Maintain traffic control devices during closure period(s).

Table 156-1

Temporary Road Closures

| Road Number | From Terminus | To Terminus | Maximum Consecutive Days of Closure | Minimum Consecutive Days Open | Remarks |
| --- | --- | --- | --- | --- | --- |
| 83 | MP 13.75 | MP 15.12 | 2 | 2 | Notify COR 7 business days prior to closure. |

# Section 201. - CLEARING AND GRUBBING

Delete paragraph (c) in Subsection 201.04(c) Clearing and replace with the following:

(c) In areas outside the excavation, embankment, and slope rounding limits, cut stumps to maximum stump height shown in table below.

Fall and buck the merchantable material at lengths longer than the minimum lengths listed, or in multiples thereof (i.e. 8 ft, 16 ft, 24 ft, 32 ft), not to exceed 16 feet in length to allow for transportation of the material. Merchantable timber shall be decked at designated location(s).

| Forest Products Utilization Standards: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Species | Product | Max. Stump Height | Minimum Specifications |  |  |
|  |  |  | Piece Required to be Removed |  |  |
|  |  |  | Length (feet) | Diameter Inside Bark at Small End (inches) | 1/ |
| Unknown | Timber | 12 in. | 16 | 6 | TBD |

1/ Enter Merchantability Factor (Merch. Factor) or Net Scale in % of Gross Scale, whichever is appropriate.

# Section 201. - CLEARING AND GRUBBING

Delete Subsection 201.06 Disposal and replace with the following:

201.06 Disposal. Merchantable timber is Government property.  Dispose of clearing and grubbing debris according to Subsection 203.07.

# Section 201. - CLEARING AND GRUBBING

Delete the last sentence of Section 201.08 Measurement.

# Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Delete the first paragraph after Subsection b in 203.05 Removing Material and replace with the following:

Remove structures and obstructions in the roadbed to 12 inches below subgrade elevation. Remove structures and obstructions outside the roadbed to 12 inches below finished ground or to the natural stream bottom.

# Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Delete the third paragraph of Subsection 203.06 Abandoning Structures.

# Section 203. - REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Add the following to Subsection 203.07 Disposing of Material:

Dispose of unsuitable and excess material according to the specified method(s) as follows:

(a) Windrowing Construction Slash.  Place construction slash outside the roadway in neat, compacted windrows approximately parallel to and along the toe line of embankment slopes. Do not permit the top of the windrows to extend above subgrade. Use construction equipment to matt down all material in a windrow to form a compact and uniform pile. Construct breaks of at least 15 feet at least every 200 feet in a windrow. Do not place windrows against trees.

(b) Scattering. Scatter construction slash in designated areas without damaging trees. Limb all logs. Place logs and stumps away from trees, positioned so they will not roll, and are not on top of one another. Limb and scatter other construction slash to reduce slash concentrations.  When scattering for erosion control, place construction slash as flat as practicable on the completed slope.

(c) Chipping. Use an approved chipping machine to chip slash longer than 3 feet.  Deposit chips on embankment slopes or outside the roadway to a loose depth less than 6 inches. Minor amounts of chips or ground woody material may be permitted within the roadway if they are thoroughly mixed with soil and do not form a layer.

(d) Debris Mat. Use tree limbs, tops, cull logs, split stumps, wood chunks, and other debris to form a mat upon which construction equipment is operated. Place stumps upside down and blend stumps into the mat.

(e) Decking. Remove brush from designated log deck areas.  Limb and top logs.

Logs not meeting the Utilization Standards described in Subsection 201.04(c) shall be cut to lengths less than 6 feet and decked in designated log deck location.

Merchantable timber not associated with an existing timber sale shall be cut to length meeting the Utilization Standards described in Subsection 201.04(c).

Deck logs so that logs are piled parallel to one another; can be removed by standard log loading equipment; will not damage standing trees; will not interfere with drainage and will not roll. Keep logs in log decks free of brush and soil.

(f) Removal to designated locations.  Remove construction slash to designated locations.

(g) Piling. Pile construction slash in designated areas.  Place and construct piles so that if the piles are burned, the burning will not damage remaining trees. Keep piles free of dirt from stumps.

# Section 204. – EXCAVATION AND EMBANKMENT

Delete Subsection 204.06 Roadway Excavation and replace with the following:

204.06 Roadway Excavation. Excavate as follows:

(a) Rock cuts. Verify the top portion of the rock cuts during pioneer access or initial excavation. Construct the final soil cut before starting drilling for rock blasting or other rock excavation methods unless approved. Blast rock according to Forest Service Supplemental Specification Section 205 if approved by the CO. Excavate rock cuts to 6 inches below subgrade within the roadbed limits. Backfill to subgrade with select borrow. Compact the material according to Subsection 204.11.

(b) Earth cuts. Scarify earth cuts to 6 inches below subgrade within the roadbed limits. Compact the scarified material according to Subsection 204.11.

(c) Drainage Feature. Drainage feature includes construction of all ditches, minor channel changes, drainage dips, catch basins, surface water deflectors, and other minor drainage structures.  Compact the material according to Subsection 204.11. Excavate on a uniform grade between control points.

Remove snow or ice in advance of work and deposit beyond the roadway limits in a manner to prevent resource damage.

Conserve 6-inch minus material from the roadway excavation to use for finishing the roadbed. Dispose of unsuitable or excess excavation material according to Subsection 204.14. Replace shortage of suitable material caused by premature disposal of roadway excavation.

At the end of each day’s operations, shape to drain and compact the work area to a uniform cross-section.

# Section 204. – EXCAVATION AND EMBANKMENT

Delete and replace the first paragraph in Subsection 204.11 Compaction with the following:

When determining the quantity of material retained on a No. 4 sieve for compaction, use AASHTO T27. Compact each lift of material to a firm and stable condition and until there is no visible evidence of further consolidation or deflection. Compact using one of the following as specified:

Add the following to Subsection 204.11 Compaction:

(d) Adjust the moisture content of the material to a moisture content suitable for compaction. Fill the interstices around rock with earth or other fine material as practical. Operate roller compaction equipment over the full width of each layer until there is no visible evidence of further consolidation or, if when a sheepsfoot roller is used, the roller “walks out” of the layer. Make at least three complete passes.  Use compression-type rollers at speeds less than 6 feet per second and vibratory rollers at speeds less than 3 feet per second.  Ensure rollers meet the following requirements:

(1) Steel wheeled rollers, other than vibratory, capable of exerting a force of not less than 250 pounds per inch of width of the compression roll or rolls.

(2) Vibratory steel wheeled rollers equipped with amplitude and frequency controls with a minimum dynamic force of 30,000 pounds impact per vibration, specifically designed to compact the material on which it is used.

(3) Pneumatic-tired rollers with smooth tread tires of equal size that will provide a uniform compacting pressure for the full width of the roller and capable of exerting a ground pressure of at least 80 psi.

(4) Sheepsfoot, tamping, or grid rollers capable of exerting a force of 250 pounds per inch of width of roller drum

(e) Adjust the moisture content of the material to a moisture content suitable for compaction. Fill the interstices around rock with earth or other fine material as practical. Operate hauling and spreading equipment uniformly over the full width of each layer until there is no visible evidence of further consolidation. Make at least three complete passes.

(f). Adjust the moisture content of the material to a moisture content suitable for compaction. Fill the interstices around rock with earth or other fine material as practical. Operate hauling and spreading equipment uniformly over the full width of each layer.

(g) Adjust the moisture content of the material to a moisture content suitable for compaction. Compact the complete surface with a bucket of an excavator larger than 39,000 pounds Gross Vehicle Weight using a minimum of three blows.  Overlap compaction by ½ width of bucket.

(h) Adjust the moisture content of the material to a moisture content suitable for compaction.  Compact using an approved mechanical tamper for a minimum of three complete passes.

When compacting with rollers or hauling and spreading equipment is not practical, use approved mechanical tampers for a minimum of three complete passes.

# Section 209. - STRUCTURE EXCAVATION AND BACKFILL

Add the following to Subsection 209.09(a) Backfill, General:

Backfill without damaging or displacing the culvert or structural plate structure.  Replace any pipe that is distorted by more than 5 percent of nominal dimensions, or that is ruptured or broken.

Do not place or backfill pipe that meets any of the following conditions until the excavation and foundation have been approved by the CO:

- Installation in a protected stream course.

- Round pipe with a diameter of 48 inches or greater.

- Pipe arches with a span of 50 inches or greater.

- Any box culvert or structure other than pipe culverts.

# Section 209. - STRUCTURE EXCAVATION AND BACKFILL

Delete and replace Subsection 209.10 Compacting with the following:

Compact per Subsection 204.11.

# Section 251. – RIPRAP

Delete and replace Subsection 251.07 Riprap Gradation with the following:

Size method. For source and production approval, test individual riprap using the size method, by confirming that the largest rocks have an intermediate dimension greater than the upper limit of the D85 size range shown and the smallest accessible rocks have an intermediate dimension within the lower D15 size range as shown in Table 705-1.

Delete “FLH T 521” and “Subsection 251.07(b)” and replace both with “Subsection 251.07” in Table 251-1 Sampling, Testing, and Acceptance Requirements.

# Section 301. - UNTREATED AGGREGATE COURSES

Add the following to Subsection 301.02 Material:

Soil			704

# Section 301. - UNTREATED AGGREGATE COURSES

Add the following to Subsection 301.03 General:

Written approval of the roadbed is required before placing aggregate.

For pit run material, furnish material smaller than the maximum size identified in the plans, no gradation will be required otherwise. After processing on the road, remove all oversize material from the road and dispose as directed by the CO.

Provide additives or binder, if required, at the proportions specified.

Develop and use Government furnished sources according to Section 105.

If the aggregate is produced and stockpiled before placement, handle and stockpile according to Section 314.

# Section 301. - UNTREATED AGGREGATE COURSES

Delete and Replace Subsection 301.05 Compacting with the following:

Compact each layer full width.  Roll from the sides to the center, parallel to the centerline of the road.  Along curbs, headers, walls, and all places not accessible to the roller, compact the material with approved tampers or compactors.

Compact the aggregate using one of the following methods as specified:

- Compaction A.  Operating spreading and hauling equipment over the full width of the travelway.

- Compaction B.  Operate rollers and compact as specified in Subsection 204.11(a)(4)(a).

- Compaction C.  Moisten or dry the aggregate to a uniform moisture content between 5 and 7 percent based on total dry weight of the mixture. Operate rollers and compact as specified in Subsection 204.11(a)(4)(a).

- Compaction D.  Compact to a density of at least 95.0 percent of the maximum density, as determined by AASHTO T 99, method C or D.

- Compaction E.  Compact to a density of at least 95.0 percent of the maximum density, as determined by AASHTO T 180, method C or D.

For all compaction methods, blade the surface of each layer during the compaction operations to remove irregularities and produce a smooth, even surface.  When a density requirement is specified, determine the in-place density and moisture content according to AASHTO T 310 or other approved test procedures.

# Section 303. - ROAD RECONDITIONING

Add the following to Subsection 303.08 Roadway Reconditioning:

Remove cattleguard decks. Clean the deck and the area beneath the cattleguard of soil and other material to the bottom of the original foundation over the entire width of the installation.   Dispose of waste at designated sites or according to Subsection 204.14.  Reinstall the cattleguard deck.

# Section 633. - PERMANENT TRAFFIC CONTROL

Delete the first sentence of Subsection 633.03 General and replace with the following:

Provide and install permanent traffic control devices according to the MUTCD, USDA Forest Service EM-7100-15 and as shown in the plans.

Add the following sentence to Subsection 633.03 General:

Sign panel layout proofs shall be approved by the CO prior to ordering.

# Section 703. - AGGREGATE

Delete Subsection 703.05(c)(3) Subbase, Base, and Surface Course aggregate, Surface course aggregate and replace with the following:

(3) Plastic Index, AASHTO T 90

If the percent passing the No. 200 sieve is less than or equal to 12% - 2 to 9

If the percent passing the No. 200 sieve is greater than 12% - Less than 2

# Section 705. - ROCK

Add the following Class to Table 705-1 in Subsection 705.02 Rock for Riprap:

| Table 705-1 Gradation Requirements for Riprap(1) |  |  |  |
| --- | --- | --- | --- |
| Class | Percent of Rock Equal or Smaller by Count, DX | Range of Intermediate Dimensions,(2) inches | Range of Rock Mass,(3) pounds |
| 0 | 100 | 6 – 8 | 17 – 41 |
|  | 85 | 5 – 6 | 10 – 17 |
|  | 50 | 2 – 5 | 0.6 – 10 |
|  | 15 | 0 – 2 | 0 – 0.6 |