
CLIN Structure: FY264321003 Nogales Headworks (Urgent)
	CLIN
	Description
	Qty
	Unit
	Unit Price
	Total Price

	001
	Headworks equipment, supplies, and installation ¾” coarse screen, model FT-48 Mensch Severe-Duty Bar Screen to match existing
	1
	EA
	
	

	002
	Vulcan Model EWP 250/1000 washing presses w/ control panels to match existing
	2
	EA
	
	

	003
	fine screens, model ESR-34 stair to match existing
	2
	EA
	
	

	004
	Sluice trough for conveyance from screen to washing compactor
	22
	EA
	
	

	005
	Removal and Installation
	1
	ES
	
	

	GRAND TOTAL
	$




  CLIN Structure:   FY264321003   Nogales   Headworks   (Urgent)  

CLIN  Description  Qty  Unit  Unit Price  Total Price  

001  Headworks equipment, supplies, and  installation   ¾” coarse screen, model FT - 48 Mensch Severe - Duty Bar Screen   to  match existing  1  EA    

002  Vulcan Model EWP 250/1000 washing  presses w/ control panels  to match  existing  2  EA    

003  fine screens, model ESR - 34  stair   to  match existing  2  EA    

004  Sluice trough for conveyance from screen  to washing compactor  22  EA    

005  Removal and Installation  1  ES    

GRAND TOTAL  $  

 

