CLIN Structure: FY264321003 Nogales Headworks (Urgent)

| CLIN | Description | Qty | Unit | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 001 | Headworks equipment, supplies, and installation ¾” coarse screen, model FT-48 Mensch Severe-Duty Bar Screen to match existing | 1 | EA |  |  |  |
| 002 | Vulcan Model EWP 250/1000 washing presses w/ control panels to match existing | 2 | EA |  |  |  |
| 003 | fine screens, model ESR-34 stair to match existing | 2 | EA |  |  |  |
| 004 | Sluice trough for conveyance from screen to washing compactor | 22 | EA |  |  |  |
| 005 | Removal and Installation | 1 | ES |  |  |  |
| GRAND TOTAL |  |  |  |  | $ |  |