## Sheet1
LOCATION | TEMP/HUMIDITY TRANS. | LINE POWER SENSOR | MED FRIDGE TEMP | MED FREEZER | LAB FRIDGE TEMP. | LAB FREEZER TEMP. | PATIENT FRIDGE | PATIENT FREEZER | NUTRITION/ CANTEEN FRIDGE | NUTRITION/ CANTEEN FREEZER | GLYCOL PROBES | DOOR SENSOR | MED ULTRA LOW FREEZER | ULTRA LOW PROBE | HUB/ GATEWAY | SIGNAL REPEATER | MOISTURE TRANS. | MOISTURE PROBE | DOMESTIC H/W HIGH TEMP | DOMESTIC H/W LOW TEMP | PRESSURE DIFFERENTIAL TRANS. | PRESSURE DIFFERENTIAL PROBE | INCUBATOR TRANSMITTER | CENTRAFUGE | INCUBATOR PROBE | TOTAL DEVICE COUNT, EXISTING EQUIPMENT
ANTHEM CBOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
COTTONWOOD CBOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
FLAGSTAFF CBOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
KINGMAN CBOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
LAKE HAVASU CBOC | 4 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
HOBROOK PTOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
PAGE PTOC | 2 | 2 | 1 |  | 1 | 1 |  |  |  |  | 3 | 3 |  |  | 1
BLDG 12 | 3 | [14 empty] | 1 | 1 | 1
BLDG 13 | 2 | [14 empty] | 1 | 1 | 1
BLDG 14 | 3 | [5 empty] | 1 |  |  |  | 1 | 1 |  |  |  | 1 | 1 | 1
BLDG 15 | 1
BLDG 16 | 1 | [7 empty] | 7 | 2 | 9 |  |  |  |  | 1
BLDG 20 | 1 |  | 1 | [7 empty] | 1 | 1
BLDG 22 | 1 | [14 empty] | 1
BLDG 28 | 2 | [14 empty] | 1
BLDG 70 | 3 |  | 1 | [7 empty] | 1 | 1 |  |  | 1 | 1
BLDG 78 | 1
BLDG 107-1A | 2 | [14 empty] | 1 | 2 | 2
BLDG 107-1B | 3 | [15 empty] | 1 | 1
BLDG 107-2A | 6 | [15 empty] | 1 | 1
BLDG 107-2B | 2
BLDG 107-3A | 3 |  | 1 |  |  |  | 1 |  |  |  | 2 | 2 |  |  |  | 1 | 1 | 1
BLDG 107-3B | 2 |  | 1 | [5 empty] | 1 | 1 | 3 | 3
BLDG 107-4A | 3 |  | 2 |  | 1 | [5 empty] | 3 |  |  |  | 1 | 1
BLDG 107-4B | 1 |  | 1 |  |  |  | 1 |  |  |  | 2 | 2 |  |  |  |  | 1 | 1
BLDG 107-5 | 7 | [15 empty] | 1 | 1
BLDG 107-BASEMENT |  |  |  |  | 1 | [5 empty] | 1 | 1 | [6 empty] | 1 | 1
BLDG 108 MAIN KITCHEN | 2 | [7 empty] | 7 | 4 | 11 |  |  |  |  | 1 | 1 | 1
BLDG 111 BOILERPLANT | 1
BLDG 112 LAUNDRY | 1
BLDG 117 OUTPATIENT/ TEAMS | 5 |  | 2 | [7 empty] | 2 | 2 |  |  |  | 1 | 3 | 3
148-LOWER | 5 |  | 1 |  | 1 |  |  |  | 2 |  | 4 | 2 |  |  | 1 | 1 | 1 | 1
148-UPPER | 1 |  | 1 |  |  |  | 4 |  | 2 |  | 7 | 5 |  |  |  | 2 | 1 | 1 | 1 | 1
151-KITCHEN | 1 | [7 empty] | 7 | 1 | 8 |  |  |  |  | 1
151-LOWER | 2 | [14 empty] | 1 |  |  | 1 | 1
151-UPPER | 5 |  |  |  | 1 |  | 1 |  |  |  | 2 | 2 |  |  |  | 1
152-CHAPEL | 1 | [14 empty] | 1
154-LIBRARY
155-UPPER | 1
LOCATION | TEMP/HUMIDITY TRANS. | LINE POWER SENSOR | MED FRIDGE TEMP, | MED FREEZER | LAB FRIDGE TEMP. | LAB FREEZER TEMP. | PATIENT FRIDGE | PATIENT FREEZER | NUTRITION/CANTEEN FRIDGE | NUTRITION/CANTEEN FREEZER | GLYCOL PROBES | DOOR SENSOR | MED ULTRA LOW FREEZER | ULTRA LOW PROBE | HUB/GATEWAY | SIGNAL REPEATER | MOISTURE TRANS. | MOISTURE PROBE | DOMESTIC H/W HIGH TEMP | DOMESTIC H/W LOW TEMP | PRESSURE DIFFERENTIAL TRANS. | PRESSURE DIFFERENTIAL PROBE | INCUBATOR TRANSMITTER | CENTRAFUGE | INCUBATOR PROBE
BLDG 156 | 1
BLDG-157 | 2
BLDG-158 TEAMS | 3 | [14 empty] | 1 | 1 | 1
BLDG 1-160 EMERGENCY | 4 |  | 1 | [5 empty] | 1 |  | 2 | 1 |  |  |  | 1
BLDG-161 MENTAL HEALTH | 2 |  | 1 | [8 empty] | 1 |  |  |  | 1
BLDG-162 LOGISTICS | 2
BLDG-162 SPS | 10 | [19 empty] | 7 | 7
BLDG-164 LAB | 6 |  |  |  | 12 | 3 |  |  |  |  | 15 | 15 | 1 | 1 |  | 1 | [6 empty] | 2 |  | 2
BLDG-164 PHARMACY | 7 |  | 11 | 2 | [6 empty] | 13 | 13 |  |  | 2 | 1
BLDG-165 WAREHOUSE |  |  | 1 | [7 empty] | 1 | 1
BLDG-T-6 REHAB | 1 | [5 empty] | 1 |  |  |  | 1 | 1 |  |  |  | 1
BLDG-T8 FLU CLINIC |  |  | 1 | [7 empty] | 1 | 1
TOTALS EACH COLUMN, TYPE, EXISTING EQUIPMENT | 126 | 14 | 33 | 2 | 23 | 46 | 9 |  | 27 | 8 | 111 | 76 | 1 | 1 | 12 | 25 | 17 | 17 | 3 | 3 | 7 | 7 | 2 |  | 2 | 572
ADDITIONAL ANTICIPATED DEVICES TO BE INSTALLED | 15 | 5 |  |  |  |  | 5 | 5 | [6 empty] | 3 | 5 | 30 | 30 |  |  | 20 | 20 |  | 2 |  | 158
TOTAL PIECES OF EQUIPEMENT NEEDED | [25 empty] | 738
ALLOWS FOR ADDITIONAL DOOR SENSORS NEEDED
55