## Sheet1
Panel location | Brinkerhoff
10 | Master Bedroom Smoke Detector
11 | Kitchen Smoke Detector
12 | Bedroom #1 Smoke Detector
13 | Bedroom #2 Smoke Detector
14 | Bedroom #3 Smoke Detector
15 | Living Room North Smoke Detector
16 | Living Room South Smoke Detector
17 | Pull Station
18 | Reception Motion Detector
19 | Kitchen Motion Detector
20 | North Motion Detector
21 | NW Motion Detector
22 | South Motion Detector
23 | SW Motion Detector
24 | Master Bedroom Motion Detector
25 | Basement Motion Detector
26 | Caretakers Cottage Motion Detector
Panel location | Burt Dr 101, 103, 105, 107
1 | HEAT DETECTORS
2 | PULL STATION
3 | SUPERVISORY GENERAL
4 | SUPERVISORY GENERAL
5 | WATER FLOW- GENERAL
6 | 105 LIVING ROOM SMOKE
7 | 150 KITCHEN SMOKE
8 | 101 KITCHEN SMOKE
9 | 101 LIVING ROOM SMOKE
10 | HEAT DETECTOR 101 / 103 GARAGE
12 | 101 BEDROOM SMOKE
13 | 101 HALLWAY SMOKE
14 | 101 CO DETECTOR
15 | 101 BEDROOM SMOKE
16 | 105 BEDROOM SMOKE
17 | 105 CO DETECTOR
18 | 105 HALLWAY SMOKE
19 | 105 BEDROOM SMOKE
20 | 107 BEDROOM SMOKE
21 | 107 HALLWAY SMOKE
22 | 107 CO DETECTOR
23 | 107 BEDROOM SMOKE
24 | 103 BEDROOM SMOKE
25 | 103 CO DETECTOR
26 | 103 HALLWAY SMOKE
27 | 103 BEDROOM SMOKE
28 | 103 LIVING ROOM SMOKE
29 | 103 KITCHEN SMOKE
30 | 107 KITCHEN SMOKE
31 | 107 LIVING ROOM SMOKE
33 | BASEMENT HEAT DETECTOR
34 | BASEMENT HEAT DETECTOR
201 | TAMPER 101 / 103 BASEMENT
202 | WATERFLOW 101/ 103 BASEMENT
203 | PULLSTATION BEWTEEN 105 / 107 FRONT DOOR
211 | PULLSTATION BETWEEN 101 / 103 FRONT DOOR
232 | 24V MONITOR PANEL
Panel location | Burt Dr 102, 104, 106, 108
1 | HEAT DETECTORS
2 | PULL STATION
3 | SUPERVISORY -GENERAL
4 | SUPERVISORY -GENERAL
5 | WATER FLOW -GENERAL
6 | Smoke Detector 106 Living Room
7 | Smoke Detector 106 Kitchen
8 | Smoke Detector 106 Hallway
9 | Smoke Detector 102 Living Room
10 | Heat Detector 102, 104 Garage
12 | Smoke Detector 102 Bedroom
13 | Smoke Detector 102 Hallway
14 | 102 CO Detector
15 | Smoke Detector 102 Bedroom
16 | Smoke Detector 106 Bedroom
17 | 106 CO Detector
18 | Smoke Detector 102 Kitchen
19 | Smoke Detector 106 Bedroom
20 | Smoke Detector 108 Bedroom
21 | Smoke Detector 108 Hallway
22 | 108 CO Detector
23 | Smoke Detector 108 Bedroom
24 | Smoke Detector 104 Bedroom
25 | 104 CO Detector
26 | Smoke Detector 104 Hallway
27 | Smoke Detector 104 Bedroom
28 | Smoke Detector 104 Living Room
29 | Smoke Detector 104 Kitchen
30 | Smoke Detector 108 Kitchen
31 | Smoke Detector 108 Living Room
33 | Heat Detector Basement
34 | Heat Detector Basement
201 | Tamper 102, 104 Basement
202 | Waterflow 102, 104 Basement
203 | Pull Station 106, 108 Front Door
211 | Pull Station 102, 104 Front Door
232 | 24v Monitor in Panel
Panel location | Carncross 102, 104, 106, 108
1 | HEAT DETECTORS
2 | PULL STATION
3 | SUPERVISORY GENERAL
4 | SUPERVISORY GENERAL
5 | WATER FLOW
6 | 106 LIVING ROOM SMOKE
7 | 106 KITCHEN SMOKE
8 | 102 KITCHEN SMOKE
9 | 102 LIVING ROOM SMOKE
10 | HEAT DETECTOR IN 102/104 GARAGE
12 | 102 BEDROOM SMOKE DETECTOR
13 | 102 HALLWAY SMOKE DETECTOR
14 | 102 CO DETECTOR
15 | 1O2 BEDROOM SMOKE
16 | 106 BEDROOM SMOKE
17 | 106 CO DETECTOR
18 | 106 HALLWAY SMOKE
19 | 106 BEDROOM HALL SMOKE
20 | 108 BEDROOM SMOKE
21 | 108 HALLWAY SMOKE
22 | 108 CO DETECTOR
23 | 108 BEDROM SMOKE
24 | 104 BEDROOM SMOKE
25 | 104 CO DETECTOR
26 | 104 HALLWAY SMOKE
27 | 104 BEDROOM SMOKE
28 | 104 LIVING ROOM SMOKE
29 | 104 KITCHEN SMOKE
30 | 108 KITCHEN SMOKE
31 | 108 LIVING ROOM SMOKE
33 | HEAT DETECTOR IN 102/104 GARAGE
34 | HEAT DETECTOR IN 106/108 GARAGE
201 | TAMPER 102 BASEMENT
202 | 102 BASEMENT WATERFLOW
203 | PULLSTATION BETWEEN 106 / 108 FRONT DOOR
211 | PULLSTATION BETWEEN 102 / 104 FRONT DOOR
233 | 24V POWER SUPPLY PANEL
Panel location | Carncross 110, 112, 114, 116
1 | HEAT DETECTORS
2 | PULL STATIONS
3 | SUPERVISORY GENERAL
4 | SUPERVISORY GENERAL
5 | WATER FLOW- GENERAL
6 | 114 LIVING ROOM SMOKE
7 | 114 KITCHEN SMOKE
8 | 110 KITCHEN SMOKE
9 | 110 LIVING ROOM
10 | HEAT DETECTOR 110 / 112 GARAGE
12 | 110 BEDROOM SMOKE
13 | 110 HALLWAY SMOKE
14 | 110 CO DETECTOR
15 | 110 BEDROOM SMOKE
16 | 114 BEDROOM SMOKE
17 | 114 CO DETECTOR
18 | 114 HALLWAY SMOKE
19 | 114 BEDROOM SMOKE
20 | 116 BEDROOM SMOKE
21 | 116 HALLWAY SMOKE
22 | 116 CO DETECTOR
23 | 116 BEDROOM SMOKE
24 | 112 BEDROOM SMOKE
25 | 112 CO DETECTOR
26 | 112 HALLWAY SMOKE
27 | 112 BEDROOM SMOKE
28 | 112 LIVING ROOM
29 | 112 KITCHEN SMOKE
30 | 116 KITCHEN SMOKE
31 | 116 LIVING ROOM SMOKE
33 | HEAT DETECTOR BASEMENT 110
34 | HEAT DETECTOR BASEMENT 114
201 | TAMPER 110 BASEMENT
202 | WATERFLOW 110 BASEMENT
203 | PULLSTATION BETWEEN 114 / 116 FRONT DOOR
211 | PULLSTATION BETWEEN 110 / 112 FRONT DOOR
232 | 24V SUPPLY IN PANEL
Panel location | Carncross 118, 120, 122, 124
1 | Fire Alarm- Heat Detector
2 | Pull Station
3 | Supervisory General
4 | Supervisory General
5 | Fire Alarm- Water Flow
6 | Smoke Detectors General
7 | Smoke Detector 122 Kitchen
8 | Smoke Detector 118 Kitchen
9 | Smoke Detector 118 Living Room
10 | Heat Detector 118,120 Garage
12 | Smoke Detector 118 Bedroom
13 | Smoke Detector 118 Hallway
14 | Tamper 118 CO Detector
15 | Smoke Detector 118 Bedroom
16 | Smoke Detector 122 Bedroom
17 | 124 CO Detector
18 | Smoke Detector 122 Hallway
19 | Smoke Detector 122 Bedroom
20 | Smoke Detector 124 Bedroom
21 | Smoke Detector 124 Hallway
22 | 124 CO Detector
23 | Smoke Detector 124 Bedroom
24 | Smoke Detector 120 Bedroom
25 | 120 CO Detector
26 | Smoke Detector 120 Halllway
27 | Smoke Detector 120 Bedroom
28 | Smoke Detector 120 Living Room
29 | Smoke Detector 120 Kitchen
30 | Smoke Detector 124 Kitchen
31 | Smoke Detector 124 Living Room
33 | Heat Detector Basement
34 | Heat Detector Basement
201 | Tamper 118, 120 Basement
202 | Waterflow 118, 120 Basement
203 | Pull Station 112,124 Front Door
211 | Pull Station 118, 120 Front Door
232 | 24v Monitor in Panel
Panel location | Colter Bay Maintenance
1 | WATERFLOW
2 | SPRINKLER TAMPERS 2
3 | FACP SMOKE DETECTOR
4 | SOUTH PULLSTATION
5 | NORTH PULLSTATION
6 | POWER NACS
Panel location | Colter Bay Visitor
2 | SE lecture room door
3 | SW Lecture room door
10 | NW upper smoke
13 | Sales area smoke
14 | Sales hold up BTN
16 | Perm BTN motion
24 | Sale hall motion
28 | Sale area motion
32 | Sale area motion
39 | Lecture room smoke
40 | Proj btn smoke
42 | Lecture room motion
43 | Cash room hold up
45 | W sales door
46 | Store room smoke
47 | E sales door
48 | SE sales door
63 | Sales hold up
9 | SE upper smoke
11 | NE upper smoke
12 | SE upper smoke
17 | SW upper motion
18 | NW upper motion
19 | NE upper motion
20 | SE upper motion
21 | Mid upper motion
22 | Cruciform motion
23 | SW upper door
25 | Arts prj bath smoke
26 | NW lower smoke
27 | E lower smoke
29 | Bskt display door
30 | E lower door
31 | NW lower door
33 | NW lower motion
34 | N lower motion
35 | NW lower motion
36 | SE lower motion
37 | S lower motion
Panel location | Craig Thomas Discovery Center
9 | NPS 118 MOTION
10 | BOOKSTORE MOTION
11 | NPS 119 MOTION
12 | INFO DESK MOTION
13 | NPS WORK MOTION
14 | EXHIBIT MOTION
15 | NPS HALL MOTION
16 | MECH 124 MOTION
17 | PERMIT 113 MOTION
18 | ORIENTATION MOTION
19 | COPY/MAIL MOTION
20 | EMPLOYEE ENTRANCE MOTION
21 | GENERATOR MOTION
22 | NHA 133 MOTION
26 | SPRINKLER FLOW
27 | SPRINKLER TAMPER
28 | FIRE PUMP FAIL
29 | FIRE PUMP PHASE REV.
31 | FIRE PUMP RUN
32 | NPS FIRE PULL
33 | BOOKSTORE PULL
34 | EMPLOYEE ENTRANCE FIRE PULL
35 | DOOR 131 PULL
36 | DOOR 109 PULL
37 | LOCKER HALL PULL
38 | INFO DESK PANIC
39 | DOOR 110 PULL
40 | DOOR 108 PULL
43 | BOOKSTORE PANIC
44 | NHA 133 PANIC
45 | ROOM 113 PANIC
46 | DOOR 108 DS
48 | NPS DUCT DET.
51 | WEST MEZZ DUCT
52 | DOOR 106 PULL
53 | DOOR 101B PULL
57 | WEST EX. MOTION
58 | NIGHTDOOR MOTION
59 | CLASS RM. MOTION
60 | NHS MEZZ TAMPER
61 | CLASSMEZZ TAMPER
101 | SMOKE AUD ENTRY
102 | MOTION AUD ENTRY
103 | SMOKE AUD ROW 7E
104 | SMOKE AUD ROW 7W
105 | SMOKE AUD ROW 2E
106 | SMOKE AUD ROW 2W
107 | MOTOIN AUD NORTH
108 | AUD DOOR NW
109 | AUD NW DR PULL
110 | SMOKE STORAGE
111 | SMOKE MECH PLFM
23 | BOOKSTORE DOOR
24 | EMPLOYEE 126 DOOR
25 | MECH 124 DOOR
30 | FIRE PUMP
41 | DOOR 110 DS
42 | DOOR 110 DS
47 | NHS DUCT DETECTOR
49 | DOOR 131 DS
50 | DOOR 135 DS
54 | DOOR 108 DS
55 | DOOR 106 DS
56 | DOOR 101 B DS
70 | EMPLOYEE ENTRANCE #70
71 | LOCKER D 71
72 | INFO DESK #72
73 | GEN RM #73
74 | MECH ROOM #74
Panel location | Grand Teton Elevator Phone
Elevator phone 1
Elevator phone 2
Panel location | GTA warehouse
1 | 100-Fire alarm ABOVE FACP- PHOTO DETECTOR
2 | 100-Fire alarm GYM
3 | 100-Fire alarm IT ROOM
4 | 100-Fire alarm MECHANICAL ROOM- PHOTO DETECTOR
5 | 100-Fire alarm MECHANICAL ROOM- THERMAL DETECTOR
6 | 100-Fire alarm GTA WAREHOUSE
7 | 100-Fire alarm OFFICE 011
8 | 100-Fire alarm OFFICE AREA ENTRANCE
9 | 100-Fire alarm BREAK ROOM
10 | 100-Fire alarm OFFICE AREA ENTRANCE
11 | 100-Fire alarm OFFICE 002
12 | 100-Fire alarm OFFICE 003
13 | 100-Fire alarm OFFICE HALL
14 | 100-Fire alarm COPY/FAX ROOM 009
15 | 100-Fire alarm GTA WAREHOUSE- THERMAL
16 | 100-Fire alarm MEETING ROOM 008
17 | 100-Fire alarm OFFICE 004
18 | 100-Fire alarm OFFICE 005
19 | 100-Fire alarm OFFICE 006
20 | 100-Fire alarm OFFICE 007
21 | 100-Fire alarm GTA WAREHOUSE - THERMAL
22 | 100-Fire alarm BOYS BATHROOM
23 | 100-Fire alarm JANITOR BETWEEN BATHROOMS
24 | 100-Fire alarm GIRLS BATHROOM
25 | 100-Fire alarm GTA WAREHOUSE- THERMAL
26 | 100-Fire alarm GTA WAREHOUSE- THERMAL
27 | 100-Fire alarm GYM
28 | 100-Fire alarm GYM
29 | 100-Fire alarm DFM STORAGE- THERMAL
30 | 100-Fire alarm DFM STORAGE- THERMAL
31 | 100-Fire alarm INTERP STORAGE- THERMAL
32 | 100-Fire alarm DOCUMENT PROCESSING
33 | 100-Fire alarm DOCUMENT STORAGE
34 | 100-Fire alarm DOCUMENT STORAGE
35 | 100-Fire alarm DOCUMENT PROCESSING
36 | 100-Fire alarm GYM
37 | 100-Fire alarm PULL STATION- BY FACP
38 | 593-Tamper on fire system TAMPER MAIN RISER
39 | 100-Fire alarm WATERFLOW MAIN RISER
40 | 100-Fire alarm PULL STATION- NE WAREHOUSE EXIT
41 | 100-Fire alarm PULL STATION- NE OFFICE EXIT
42 | 100-Fire alarm WEST WAREHOUSE EXIT
43 | 100-Fire alarm PULL STATION- SW STORAGE EXIT
44 | 100-Fire alarm PULL STATION- WEST STORAGE EXIT
Panel location | Headquarters Building
1 | SPRINKLER TAMPER
2 | SPRINKLER WATERFLOW/ PIV TAMPER - Fire or Spvs
3 | WATERFLOW BELL
4 | FACP PULL STATION
5 | VESTIBULE 129A
6 | CORRIDOR 133 EXIT
7 | MECHANICAL 136
8 | MECH 136 PULLSTATION
9 | VEHICLE BAY 142
10 | VEHICLE BAY 142
11 | VEHICLE BAY 142
12 | DRIVE THRU BAY 143
13 | ELEC BAY 139 PULLSTATION
14 | HAZMAT 141
15 | VEHICLE BAY 142
16 | PLUMBING SHOP 140
17 | PLUMBING SHOP 140 PULLSTATION
18 | ELECTRICAL BAY 139
19 | WAREHOUSE 128 N.
20 | WAREHOUSE 128 S,
21 | ELEVATOR 1 EQUIPMENT RM
22 | ELEVATOR PRIMARY RECALL/ SHUNT
23 | ELEVATOR SECONDARY RECALL/ HAT FLASH
24 | SECURE STORAGE 134 PULLSTATION
25 | STAIR #1 2ND FLOOR
26 | CONFERENCE ROOM 201
27 | 2ND FLOOR ELEVATOR LOBBY
28 | FACP PULL STATION
29 | OPEN OFFICE 205 E.
30 | OPEN OFFICE 205 W.
31 | OFFICE 204
32 | OFFICE 211
33 | OPEN OFFIE 212 S.
34 | OFFICE 215
35 | TELE/ MED 210
36 | TELE/ MED 209
37 | OFFICE 216
38 | OFFICE 217
39 | OFFICE 214 BLACKSHEEP
40 | OPEN OFFICE 212 N.
41 | OFFICE 213
42 | OFFICE 218
43 | COPY/FAX 224
44 | LOUNGE 225
45 | BREAKROOM 226
46 | OPEN OFFICE 227 S.
47 | OFFICE 228
48 | OFFICE 229
49 | MENS RESTROOM 230
50 | WOMENS RESTROOM 231
51 | CHASE 230A
52 | OPEN OFFICE 227 N.
53 | CONFERENCE ROOM 237
54 | STAIR #2 2ND FLOOR
55 | STAIR #2 2ND fLOOR
56 | VESTIBULE 236
57 | DUCT DETECTOR 233
58 | DUCT DETECTOR 233
59 | OFFICE 233
60 | ELECTRIC ROOM 238
61 | IT ROOM 239A
62 | MECH ROOM 239
63 | CORRIDOR DRIDLINE 8
64 | ATTIC 240 W.
65 | MECH ROOM 239 S
66 | AH1 DUCT DETECTOR
67 | AH1 SHUTDOWN
68 | AH2 DUCT DETECTOR
69 | MECH ROOM 239 N.
70 | NAC 1 TROUBLE
71 | ATTIC 240 W
72 | ATTIC 240 W.
73 | ATTIC 240 MIDDLE
74 | CORRIDOR 241
75 | ATTIC 240 E.
76 | ATTIC 240 E.
77 | CORRIDOR 241
78 | ATTIC 240 E.
79 | CORRIDOR 241
80 | CORRIDOR 234 N
81 | OPEN OFFICE 232 N.
82 | CORRIDOR 234 S.
83 | FOCUS BOOTH 232B
84 | OPEN OFFICE 232 S.
85 | CORRIDOR 222 N
86 | TELE/MED 221
87 | CONFERENCE ROOM 220
88 | OPEN OFFICE 219
89 | CORRIDOR 222 S
90 | LIBRARY 208
91 | LOUNGE 207
92 | KITCHENNETTE 206
93 | STAIR #1B 2ND FLOOR
94 | STAIR #1 2ND FLOOR
95 | NAC 3/ NAC 4 TROUBLE
100 | VESTIBULE 310
101 | VESTIBULE 310
102 | OPEN OFFICE 309 N
103 | OPEN OFFICE 309 MID
104 | OPEN OFFICE 309 S
105 | COPY/ FAX 305A
106 | COPY/FAX 305 B
107 | COP/ FAX 305
108 | OPEN OFFICE 303 N
109 | OPEN OFFICE 303 MID
110 | 3RD FLOOR ELEVATOR LOBBY
112 | ELEVATOR #1 SHAFT
113 | ELEVATOR #1 SHAFT
114 | OPEN OFFICE 303 S.
115 | OFFICE 302
116 | OPEN MEET/ DISP 304
117 | OFFICE 306
118 | OFFICE 307
119 | OFFICE 308
120 | DUCT DETECTOR 308
121 | DUCT DETECTOR 308
122 | STAIR #2 3RD FLOOR
128 | MECH ROOM 105 FACP
129 | RECEPTION 106
130 | CONFERENCE ROOM 109
131 | CHIEF FAC, MANGMENT 107
132 | OPEN OFFICE S. 108
133 | OPEN OFFICE N. 108
134 | OFFICE 115
135 | CORRIDOR 114
136 | MAIL 118
137 | OFFICE 117
138 | OFFICE 116
139 | OPEN OFFICE 121
140 | OFFICE 122
141 | OFFICE 123
142 | OFFICE 124
143 | CORRIDOR 131 S.
144 | BREAK ROOM 129
145 | B+U STORAGE 130
146 | CORRIDOR 133 W
147 | SECURE STORAGE 134
148 | SRM LAB 145
149 | CORRIDOR 133 W. HALL
150 | STAIR 2 1ST FLOOR
151 | CORRIDOR 131 N.
152 | OFFICE 132A
153 | CORRIDOR 133 E
154 | SRM LAB 135
155 | ELECTRICAL 136 A
156 | IT/ MDF 137
157 | CORRIDOR 138
158 | VESTIBULE 138 A
159 | OFFICE 132
160 | CORRIDOR 132C
161 | VESTIBULE 127A
162 | FOCUS 132B
163 | MES RESTROOM 127
164 | CAHSE 126A
165 | WOMENS RESETROOM 125
166 | VESTIBULE 125A
167 | JANITOR 126
168 | OFFIE 120
169 | CONFERENCE ROOM 119
170 | OFFICE 113
171 | TEL MED 111
172 | TEL MED 112
173 | OPEN OFFICE 102 N.
174 | OPEN OFFICE 102 S.
175 | ENROLLMENT ROOM 103A
176 | STAIR #1 1ST FLOOR
177 | ACTIVATION ROOM 103
178 | LOBBY 104
179 | COPY/ SUPPLY 110
180 | 1ST FLOOR ELEVATOR LOBBY
181 | VESTIBULE 100
182 | ELEVATOR #1 MECH ROOM
190 | OPEN OFFICE 303
191 | OPEN OFFICE 303
192 | OPEN OFFICE 309
193 | OPEN OFFICE 309
194 | OPEN OFFICE 309
1 | VEHICLE MAINTENANCE PARTS 155
2 | VEHICLE MAINT. PARTS 145
3 | WELDING SHOP 146
4 | WELDING SHOP 146
5 | WARM STORAGE 147
6 | WARM STORAGE 147
7 | WARM STORAGE 147
8 | WARM STORAGE 147
9 | ROAD BAYS 152
10 | ROAD BAYS 152
11 | DAMPER 152
12 | DAMPER 152
13 | ROAD BAYS 152
14 | ELEVATOR 2 RECALL/ 2ND RECALL/ HAT FLASH
15 | LOBBY 159 PULLSTATION
16 | ROAD BAYS 152
17 | DAMPER LAW ENFORCEMENT 155
18 | DAMPER LAW 155
19 | LAW ENFORCMENT 155
20 | LAW ENFORCEMNET 155
21 | FIRE EMERGENCY VEHICLE 156
22 | STAIR 4 LEVEL 1 PULL
23 | LAW ENFORCEMENT 157
24 | LAW ENFOREMCNET 157
25 | FIRE CACHE 154
26 | ROADS BAYS FSD
27 | ROAD BAYS 152
28 | ROAD BAYS 152
29 | ROAD BAYS 152
30 | ROAD BAYS 152
31 | WARM STORAGE 147
32 | WARM STORAGE 147
33 | WELDING SHOP 146
34 | VEHICLE BAY 144
35 | VEHICLE BAY 144
36 | VEHICLE BAY 144
37 | VEHICLE BAY 144
38 | ELEVATOR 2 RECALL/ PRIMARY RECALL/ SHUNT TRIP
40 | STAIR 3 LEVEL 2
41 | CORRIDOR 257
42 | TELE/ MED 256
43 | JANITOR 258
44 | OPEN OFFICE 249
45 | OFFICE 251
46 | OFFIE 250
47 | OFFICE 247
48 | OFFICE 248
49 | OPEN OFFICE 249
50 | OFFICE 246
51 | OFFICE 245
52 | COPY/ FAX 243
53 | OPEN OFFICE 249
54 | OFFICE 242
55 | ATTIC 240
56 | CORRIDOR 241
57 | ATTIC 240 E
58 | ATTIC 240 E
59 | CORRIDOR 241
60 | ATTIC 240
61 | ATTIC 240
62 | ATTIC 240 W
63 | CORRIDOR 241
64 | ATTIC 240
65 | ATTIC 240
66 | ATTIC 240
67 | WARM STORAGE 147
68 | ROADS BAY 152 PULLSTATION
69 | EVIDENCE ENT PULL
70 | VEHICLE BAY 144 PULL
71 | WARM STRG 147 PULL
72 | ROADS BAYS 152 PULL
73 | ROADS BAYS 152 PULL
74 | RESTROOM 278
75 | STAIR 4 LEVEL 2 PULLSTATION
76 | STAIR 4 LEVEL 2
77 | CORRIDOR 273
78 | TRAINING ROOM 274
79 | SMALL CONFERENCE 276
81 | COY/FAX 270
82 | RADIO/ ELEC 272
83 | CORRIDOR 273
84 | TRAINING ROOM 265
85 | IT 271
86 | OFFICE 268
87 | ARCHIVE STRG 266
88 | OFFICE 267
89 | CORRIDOR 263
90 | CORRIDOR 273
91 | TRAINING ROOM 265
92 | CHASE 254
93 | MENS RESTROOM 253
94 | FOCUS ROOM 259
95 | CONFERENCE ROOM 260
96 | CORRIDOR 257
97 | CORRIDOR 234
98 | WOMENS RESTROOM 255
99 | CORRIDOR 257
100 | LAW ENFORCEMENT 157 PULLSTATION
103 | ELEVATOR 2 LOBBY 2
104 | STAIR 3 LEVEL 2 PULLSTATION
105 | NAC 2 TROUBLE NPT
109 | STAIR 4 LEVEL 3 PULLSTATOIN
110 | 315 FAN SHUTDOWN
111 | MECH ROOM 315 PULLSTATION
112 | LAW ENFORECMENT 155 PULLSTATION
113 | ELEVATOR 2 EQUIPMENT RM
114 | STAIR 3 LEVEL 3 PULLSTATION
128 | OFFICE 145A
130 | EVIDENCE 148
131 | EVIDENCE 148
132 | JANITOR 150
133 | RESTROOM 151
134 | ELEVATOR 2 MECH RM 160
135 | LOBBY 159
136 | CLOSET 158
137 | CORRIDOR 150
138 | CLOSET 149
139 | ELEVATOR 2 LOBBY 1
140 | STAIR 3 LEVEL 1
141 | STAIR 4 LEVEL 1
150 | STAIR 3 LEVEL 3
151 | SEASONAL OFFICE 314
152 | TELE/ MED 317
153 | TELE/ MED 318
154 | MECHANICAL 315
155 | MECHANICAL 315
156 | ELEC ROOM 315
157 | CORRIDOR 319
158 | STAIR 4 LEVEL 3
159 | CORRIDOR 319
160 | SEASONAL OFFICE 314
161 | VESTIBULE 316
162 | LOBBY 3RD FLOOR
163 | ELEVATOR 2 TOP OF SHAFT
164 | OPEN OFFICE 313
165 | OPEN OFFICE 313
166 | OPEN OFFICE 313
190 | OPEN OFFICE 244
191 | OPEN OFFICE 244
192 | OPEN OFFICE 244
193 | OPEN OFFICE 252
194 | OPEN OFFICE 269
195 | OPEN OFFICE 269
196 | OPEN OFFICE 269
197 | OPEN OFFICE 313
198 | OPEN OFFICE 313
199 | OPEN OFFICE 313
200 | LOBBY 3RD FLOOR
201 | SEASONAL OFFICE 314
202 | CORRIDOR 319
203 | MECHANICAL 315
204 | ELEVATOR 2 LOBBY 3
1 | NAC 1
2 | NAC 2
Panel location | Helitack Base
1 | Front Entrance Smoke
2 | Base Manager Office Smoke
3 | Operations Room Smoke
4 | Leads Office Smoke
5 | Ready Room Smoke
6 | Ready Room Smoke
7 | Mens Restroom Smoke
8 | Main Hall Smoke
9 | Womens Restroom Smoke
10 | Mech Room Smoke
11 | Exercise Room Smoke
12 | Laundry Room Smoke
13 | Pilot Room Smoke
14 | South Hall Smoke
15 | Break Room Smoke
167 | Front Entrance Pull Station
168 | Ready Room Pull Station
169 | Ready Room Pull Station
170 | Mech Room Pull Station
171 | Exercise Room Pull Station
172 | South Hall Pull Station
173 | Operations Room Pull Station
Panel location | Jenny Lake VC
1 | smoke 1
2 | Smoke 2
3 | Smoke 3
4 | Smoke 4
5 | Pull station 1
6 | Pull station 2
7 | Horn strobe 1
8 | Horn strobe 2
9 | Horn strobe 3
10 | Horn strobe 4
11 | Wireless motion 1
12 | Wireless motion 2
13 | Wireless motion 3
14 | Wireless motion 4
15 | Wireless door contact 1
16 | Wireless door contact 2
Panel location | Laurance S Rockefeller Center
1 | FIRE ALARM
Smoke detector 1
Smoke detector 2
Smoke detector 3
Smoke detector 4
Smoke detector 5
Smoke detector 6
Smoke detector 7
Smoke detector 8
Smoke detector 9
Smoke detector 10
Smoke detector 11
Smoke detector 12
Smoke detector 13
Smoke detector 14
Smoke detector 15
Smoke detector 16
Smoke detector 17
Smoke detector 18
Smoke detector 19
Smoke detector 20
Smoke detector 21
Smoke detector 22
Smoke detector 23
Smoke detector 24
Smoke detector 25
Smoke detector 26
Smoke detector 27
Smoke detector 28
Smoke detector 29
Smoke detector 30
Smoke detector 31
Smoke detector 32
Smoke detector 33
Heat Detector
Pull station 1
Pull station 2
Pull station 3
Pull staion 4
Strobe 1
Strobe 2
Strobe 3
Strobe 4
Strobe 5
Strobe 6
Strobe 7
Strobe 8
Strobe 9
2 | PANIC
3 | DELAY
4 | MOTION
5 | POINT 5 INSTANT ALARM
6 | POINT 6 INSTANT ALARM
7 | POINT 7 INSTANT ALARM
8 | POINT 8 INSTANT ALARM
9 | NOT USED
10 | BASEMENT
11 | ENTRY 101
12 | NOT USED
13 | A/V ROOM
14 | NOT USED
15 | LOW TEMPERATURE
19 | MOTION
Panel location | Noble Way 114, 116, 118, 120
5 | HEAT DETECTOR 118 / 120 GARAGE
6 | 118 LIVING ROOM SMOKE
7 | 118 KITCHEN SMOKE
8 | 114 KITCHEN SMOKE
9 | 114 LIVING ROOM SMOKE
10 | HEAT DETECTOR 114 / 116 GARAGE
12 | 114 BEDROOM SMOKE
13 | 114 HALLWAY SMOKE
14 | CO DETECTOR 114
15 | 114 BEDROOM SMOKE
16 | 118 BEDROOM SMOKE
17 | CO DETECTOR 118
18 | 118 HALLWAY SMOKE
19 | 118 BEDROOM SMOKE
20 | 120 BEDROOM SMOKE
21 | 120 HALLWAY SMOKE
22 | CO DETECTOR 120
23 | 120 BEDROOM SMOKE
24 | 116 BEDROOM SMOKE
25 | CI DETECTOR 116
26 | 116 HALLWAY SMOKE
27 | 116 BEDROOM SMOKE
28 | 116 LIVING ROOM
29 | 116 KITCHEN SMOKE
30 | 120 KITCHEN SMOKE
31 | 120 LIVING ROOM SMOKE
33 | HEAT DETECTOR 114 BASEMENT
34 | HEAT DETECTOR 118 BASEMENT
201 | PULLSTATION BETWEEN 118 / 120 FRONT DOOR
202 | WATERFLOW 114 BASEMENT
203 | PULLSTATION 118 / 120 FRONT DOOR
211 | PULLSTATION BETWEEN 114 / 116 FRONT DOOR
233 | 24V SUPPLY IN PANEL
Panel location | Noble Way 121, 123, 125, 127
5 | Heat Detector 125, 127 Garage
6 | Smoke Detector 125 Living Room
7 | Smoke Detector 125 Kitchen
8 | Smoke Detector 121 Kitchen
9 | Smoke Detector 121 Living Room
10 | Heat Detector 121, 123 Garage
12 | Smoke Detector 121 Bedroom
13 | Smoke Detector 121 Hallway
14 | 121 CO Detector
15 | Smoke Detector 121 Bedroom
16 | Smoke Detector 125 Bedroom
17 | 125 CO Detector
18 | Smoke Detector 125 Hallwy
19 | Smoke Detector 125 Bedroom
20 | Smoke Detector 127 Bedroom
21 | Smoke Detector 127 Hallway
22 | 127 CO Detector
23 | Smoke Detector 127 Bedroom
24 | Smoke Detector 123 Bedroom
25 | 123 CO Detector
26 | Smoke Detector 123 Hallway
27 | Smoke Detector 123 Bedroom
28 | Smoke Detector 123 Living Room
29 | Smoke Detector 123 Kitchen
30 | Smoke Detector 127 Kitchen
31 | Smoke Detector 127 Living Room
33 | Heat Detector 121 Basement
34 | Heat Detector 125 Basement
201 | 121 Tamper Basement
202 | Waterflow 121 Basement
203 | Pull Station 125, 127 Front Door
211 | Pull Station 121, 123 Front Door
232 | 24v Sup in Panel
Panel location | Porcupine Place 305, 307, 309, 311
2 | Smoke Detector Above Panel
5 | Heat Detector N Basement Crawlspace
6 | Heat Detector S Basement Crawlspace
7 | Smoke Detector Basement Stairs
8 | Smoke Detector 307 1455B Kitchen
9 | Smoke Detector 305 1455A Kitchen
10 | Smoke Detector 305 1455A Living Room
11 | Smoke Detector 305 1455A Bedroom
12 | CO Detector Apt 305
13 | Smoke Detector 305 1455A Hallway
14 | Smoke Detector 305 1455A Bedroom
15 | CO Detector Room 110
16 | Smoke Detector 307 1455B Laundry Room
17 | Smoke Detector 307 1455B Bedroom
18 | Smoke Detector 309 1455C Bedroom
19 | Smoke Detector 309 1455C Laundry Room
21 | Smoke Detector 311 1455D Bedroom
22 | Smoke Detector 311 1455D Bedroom
24 | Smoke Detector 311 1455D Hallway
25 | Smoke Detector 311 1455C Living Room
26 | Smoke Detector 311 1455D Kitchen
27 | Smoke Detector 309 1455C Kitchen
201 | Manual Pull Station Basement
220 | Tamper 309 1455C Hallway
223 | Tamper 311 1455D Hallway
228 | Tamper 24V Sounder Base
229 | Tamper 24v Sounder Base
230 | Waterflow Basement Riser
231 | Tamper Basement Riser
Panel location | Porcupine Place 302, 304, 306, 308
1 | Basement - Mech Room Pull Station
2 | Basement - Mech Room Smoke
3 | Basement - Mech Room Tamper/Water
4 | Basement - Mech Room Tamper
5 | Basement - Storage
6 | Basement - Storage
10 | Apt 306 - Living Smoke
11 | Apt 308 - Kitchen Smoke
13 | Apt 308 - Living Smoke
14 | Apt 308 - CO Detector
15 | Apt 308 - Bedroom Smoke
16 | Apt 308 - Hall Smoke
17 | Apt 308 - Bedroom Smoke
18 | Apt 306 - CO Detector
19 | Apt 306 - Hall Smoke
20 | Apt 306 - Bedroom Smoke
21 | Apt 304 - Bedroom Smoke
22 | Apt 304 - Hall Smoke
23 | Apt 304 - CO Detector
24 | Apt 302 - Bedroom Smoke
25 | Apt 302 - Hall Smoke
26 | Apt 302 - Bedroom Smoke
27 | Apt 302 - CO Detector
28 | Apt 302 - Living Smoke
29 | Apt 302 - Kitchen Smoke
30 | Apt 304 - Living Smoke
Panel location | Water Treatment Plant
1 | 100-Fire alarm MDF SMOKE
2 | 100-Fire alarm OFFICE/LAB SMOKE
3 | 100-Fire alarm OFFICE LAB ENT PULL STATION
4 | 100-Fire alarm BATHROOM SMOKE
5 | 100-Fire alarm PROCESS AREA NE SMOKE
6 | 100-Fire alarm PROCESS AREA MID SMOKE
7 | 100-Fire alarm PROCESS AREA NW SMOKE
8 | 100-Fire alarm PROCESS AREA PULL STATION
9 | 100-Fire alarm HEADWORDS PULL STATION ENT
10 | 100-Fire alarm HEADWORKS SMOKES
11 | 100-Fire alarm BLOWER ROOM N SMOKE
12 | 100-Fire alarm BLOWER ROOM S SMOKE
13 | 100-Fire alarm BASEMENT PULL STATION
14 | 100-Fire alarm BASEMENT N SMOKE
15 | 100-Fire alarm BASEMENT S SMOKE