## Schedule of Items
SCHEDULE OF ITEMS Palisades Lagoon Liner & Effluent Sprinkler System Replacement Santa Cantalina Ranger District Coronado National Forest
SCHEDULE OF ITEMS
ITEM NUMBER | PAY ITEM NO. | DESCRIPTION | METHOD OF MEASURE | PAY UNIT | ESTIMATED QUANTITY | UNIT PRICE | TOTAL
0001AA | 017113 (01) | MOBILIZATION | LSQ | LS | 1 | 0 | 0
0001AB | 015000 (01) | TEMPORARY FACILITIES AND CONTROL - ELECTRICAL | LSQ | LS | 1 | 0 | 0
0001AC | 015120 (01) | TEMPORARY WASTEWATER COLLECTION SYSTEM - DESIGN - INSTALL | LSQ | LS | 1 | 0 | 0
0001AD | 015120 (02) | MANAGEMENT & DISPOSAL OF WASTEWATER IN COLLECTION TANKS | CQ | WK | 5 | 0 | 0
0001AE | 015120 (03) | TEMPORARY TANK & PUMP SYSTEM RENTAL | CQ | WK | 5 | 0 | 0
0001AF | 021419 (01) | EFFLUENT DISPOSAL IN LAGOON | AQ | GAL | 249000 | 0 | 0
0001AA | 021419 (02) | SLUDGE DISPOSAL IN LAGOON | AQ | GAL | 130975 | 0 | 0
0001AG | 021419 (03) | REMOVAL & DISPOSAL - EXISTING LAGOON LINER SYSTEM | LSQ | LS | 1 | 0 | 0
0001AH | 021419 (04) | REMOVAL & DISPOSAL - EXISTING EFFLUENT SPRINKLER SYSTEM | LSQ | LS | 1 | 0 | 0
0001AI | 033000 (01) | CONCRETE PIPE SUPPORTS, BAFFLE & STAFF GAUGE | LSQ | LS | 1 | 0 | 0
0001AJ | 312200 (01) | SITE GRADING (GRADING & COMPACTION: LAGOON FLOOR, BERM, & EMBANKMENT) INCL MATERIAL | CQ | CY | 63 | 0 | 0
0001AK | 328000 (01) | EFFLUENT SPRINKLER SYSTEM PIPING, 2" PVC, 1" PVC, 1" GSP INCLUDING MATERIAL & INSTALLATION | CQ | LF | 813 | 0 | 0
0001AL | 328000 (02) | EFFLUENT SPRINKLER FITTINGS, RISERS & SPRINKLER HEADS ASSEMBLY INCL INSTALLATION | AQ | EA | 10 | 0 | 0
0001AM | 328000 (03) | EFFLUENT SPRINKLER SYSTEM, DAYLIGHT DRAINS (INCLUDES VALVES & BOXES, MATERIAL & INSTALLATION) | AQ | EA | 3 | 0 | 0
0001AN | 328000 (04) | EFFLUENT SPRINKLER SYSTEM, PUMP & PLUMBING SYSTEM INCL. FOOT VALVE | LSQ | LS | 1 | 0 | 0
0001AO | 333600 (01) | GEOTEXTILE, 8-OZ/SY NON-WOVEN | LSQ | LS | 1 | 0 | 0
0001AP | 334600 (01) | GEOMEMBRANE LINER (PRIMARY LINER INCLUDES PIPE BOOTS, BERM VENTS, & ALL ACCESSORIES & INSTALLATION) | LSQ | LS | 1 | 0 | 0
0001AQ | 334600 (02) | GEOMEMBRANE LINER (SECONDARY LINER) INCLUDING INSTALLATION | LSQ | LS | 1 | 0 | 0
0001AR | 204 (01) | EXCAVATION AND EMBANKMENT - BORROW EXCAVATION, TEMPORARY ACCESS AREA 18' X 58' | LSQ | LS | 1 | 0 | 0
0001AS | 251.04 (01) | RIP RAP (CLASS I) INSTALLED | CQ | CY | 20 | 0 | 0
0001AT | 301 (01) | UNTREATED AGGREGATE, 3" COMPACTED IN PLACE, TABLE 703-3 - DESIGNATION H | CQ | CY | 100 | 0 | 0
0001AU | 303 (01) | ROADWAY RECONDITIONING, ACCESS ROAD, 00+00 - 06+60 | AQ | LF | 660 | 0 | 0
|  | TOTAL BASE ITEM 0001 |  |  |  |  | 0
Designated Method of Measurement:
LSQ - lump sum quantities, AQ - Actual Quantities, CQ - Contract Quantities
NOTE 1: Contractor input Unit Prices
NOTE 2: Auto Calculated Values
NOTE 3: One award will be made from this solicitation. Contractor's must submit pricing for all items. In the event of an error in extending the proposed prices, unit prices will govern, unless otherwise determined by the Contracting Officer, in accordance with applicable regulations. The Government reserves the right to make award for quantities less than those stated on the Schedule of Items.
NOTE 4: Submission of the SOI represents the Contractors commitment to the data herein. It is the responsibility of the Contractor to verify that all values presented in the SOI, including auto-calculated cells, accurately represent the Contractor's intended price elements. The Government shall not be held liable for any errors in calculation or pricing data.
NOTE 5: Payment for bond premiums in accordance with AGAR Clause 452.232-71, Progress Payments for Commercial Construction Contracts, shall not be in addition to the contract price, but may be included under Mobilization.
QUOTER NAME:
SAM UEI #:
DATE: